## December 2023
TenneT TSO B.V.
Planned Unavailability of Transmission Infrastructure
December 2023
|  |  |  | 48 | [6 empty] | 49 | [6 empty] | 50 | [6 empty] | 51 | [6 empty] | 52
Element Name | Voltage Level | Asset type | Bidding zone | M | T | W | T | F | S | S | M | T | W | T | F | S | S | M | T | W | T | F | S | S | M | T | W | T | F | S | S | M | T | W | T | F | S | S | M | T | W | T | F | S | S
[8 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Eemshaven - Meeden Black | 380 | Internal Line | [5 empty] | 48 F 1: D/N
Zwolle - Meeden Black | 380 | Internal Line | [5 empty] | 48 F 1: D/N
Ens - Zwolle Black | 380 | Internal Line | [5 empty] | 48 F 1: D/N; 48 S 2: D/N; 48 S 3: D/N; 49 M 4: D/N; 49 T 5: D/N; 49 W 6: D/N; 49 T 7: D/N; 49 F 8: D/N; 49 S 9: D/N; 49 S 10: D/N; 50 M 11: D/N; 50 T 12: D/N; 50 W 13: D/N; 50 T 14: D/N; 50 F 15: D/N
Krimpen a/d Ijssel - Breukelen Kortrijk White | 380 | Internal Line | [5 empty] | 48 F 1: D/N; 48 S 2: D/N
Krimpen a/d IJssel - Diemen Black | 380 | Internal Line | [8 empty] | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N
Riland - Zandvliet Grey | 380 | Cross border Line | BE | bar: 52 W 27
Riland - Zandvliet White | 380 | Cross border Line | BE | bar: 52 W 27
Vierverlaten - Eemshaven Oudeschip (P) | 380 | Internal Line | [5 empty] | 51 M 18: D/N; 51 T 19: D/N; 51 W 20: D/N; 51 T 21: D/N; 51 F 22: D/N
Eemshaven - Meeden Black | 380 | Internal Line | bar: 50 S 16
Zwolle - Meeden Black | 380 | Internal Line | bar: 50 S 16
|  |  | D/N |  |  | Day and Night (from 0:00 h until 24:00 h) out of service
|  |  | D |  |  | Daily (from 07:00 h until 17:00 h) out of service
|  |  | OA |  |  | On Demand out of service
|  |  | N |  |  | Night (from 17:00 h until 07:00 h) out of service