## March 2024
TenneT TSO B.V.
Planned Unavailability of Transmission Infrastructure
March 2024
|  |  |  | 9 | [6 empty] | 10 | [6 empty] | 11 | [6 empty] | 12 | [6 empty] | 13
Element Name | Voltage Level | Asset type | Bidding zone | M | T | W | T | F | S | S | M | T | W | T | F | S | S | M | T | W | T | F | S | S | M | T | W | T | F | S | S | M | T | W | T | F | S | S | M | T | W | T | F | S | S
[8 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Breukelen Kortrijk - Diemen White | 380 | Internal Line | [5 empty] | 12 M 18: D/N; 12 T 19: D/N; 12 W 20: D/N; 12 T 21: D/N; 12 F 22: D/N; 13 T 26: D/N; 13 W 27: D/N; 13 T 28: D/N; 13 F 29: D/N; 13 S 30: D/N
Crayestein - Krimpen a/d IJssel White | 380 | Internal Line | [5 empty] | 12 M 18: D/N; 12 T 19: D/N; 12 W 20: D/N; 12 T 21: D/N; 12 F 22: D/N
Diemen - Lelystad White | 380 | Internal Line | bar: 13 M 25 to 13 S 31
Doetinchem - Niederrhein White | 380 | Cross border Line | DE | bar: 12 T 19; 13 F 29
Doetinchem - Niederrhein Black | 380 | Cross border Line | DE | bar: 10 T 5; 11 T 14
Ens - Zwolle White | 380 | Internal Line | [5 empty] | 12 M 18: D/N; 12 T 19: D/N; 12 W 20: D/N; 12 T 21: D/N; 12 F 22: D/N; 12 S 23: D/N; 12 S 24: D/N; 13 M 25: D/N; 13 T 26: D/N; 13 W 27: D/N; 13 T 28: D/N; 13 F 29: D/N; 13 S 30: D/N; 13 S 31: D/N
Ens - Zwolle Black | 380 | Internal Line | [5 empty] | 9 F 1: D/N; 9 S 2: D/N; 9 S 3: D/N; 10 M 4: D/N; 10 T 5: D/N; 10 W 6: D/N; 10 T 7: D/N; 10 F 8: D/N; 10 S 9: D/N; 10 S 10: D/N; 11 M 11: D/N; 11 T 12: D/N; 11 W 13: D/N; 11 T 14: D/N; 11 F 15: D/N
Hengelo - Gronau White | 380 | Cross border Line | DE |  |  |  |  | 9 F 1: D/N
Krimpen a/d IJssel - Bleiswijk Black | 380 | Internal Line | [5 empty] | 10 T 5: D/N; 10 W 6: D/N; 10 T 7: D/N; 10 F 8: D/N
Maasbracht - Oberzier White | 380 | Cross border Line | DE |  |  |  |  | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N | D/N
|  |  | D/N |  |  | Day and Night (from 0:00 h until 24:00 h) out of service
|  |  | D |  |  | Daily (from 07:00 h until 17:00 h) out of service
|  |  | OA |  |  | On Demand out of service
|  |  | N |  |  | Night (from 17:00 h until 07:00 h) out of service